| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To use the retro-commissioning process to improve building energy performance. |
| --- | --- |

| Requirement | - Planning and Investigation 1 Bonus credit point for planning the retro-commissioning (RCx) process and identifying the potential energy saving opportunities (ESOs). - Implementation 1 o 3 Bonus credit points for implementing the selected ESOs for each of the following systems: - Air-conditioning system; - Electrical system; - Lift and escalator (if any) system; and - Plumbing and drainage system. - On-going Commissioning 1 to 3 Bonus credit points for executing on-going commissioning for each of the following systems: - Air-conditioning system; - Electrical system; - Lift and escalator (if any) system; and - Plumbing and drainage system. - RCx Professional 1 Bonus credit point for engaging an accredited RCx Professional to carry out the RCx process. |
| --- | --- |

| Credit(s) Attainable: | 8 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

| - Planning and Investigation |  |  |
| --- | --- | --- |
|  | Provide an action plan of the RCx process addressing the following |  |
|  |  | Summary of findings during the information collection and preliminary analysis of operating data, and plan for subsequent activities in RCx for optimising the existing DCs |
|  |  | List of potential ESOs, cost/ benefit analysis on the proposed ESOs, implementation details, measurement and verification methods, and any anticipated disturbance to normal services operation to discuss with the relevant stakeholders |
|  |  | Minimum cover the building services systems to be attempted in subsequent part of credit heads |
| - Implementation |  |  |
|  | A report describing the outcomes of the implemented ESOs, energy saving verification for the implemented ESOs, records of implementation and testing and commissioning records following changes to systems and equipment (if any). |  |
| - On-going Commissioning |  |  |
|  | Provide on-going commissioning plan for at least the past 12 months at the time of first assessment submission |  |
|  | Provide on-going commissioning records for at least the past 12 months at the time of first assessment submission |  |
| - RCx Professional |  |  |
|  | Engagement of RCx Professional with valid professional credential |  |
|  | The scope of RCx process carried out by the RCx Professional should at least cover planning, investigation and implementation stages |  |

SUBMITTALS

- Planning and Investigation

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-01-05a_00 | BEAM Plus EDC submission template for IDCM-01-05 |  |  |
| IDCM-01-05a_01 | An action plan of the RCx process |  |  |

- Implementation

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-01-05a_00 | BEAM Plus EDC submission template for IDCM-01-05 |  |  |
| IDCM-01-05a_01 | An action plan of the RCx process |  |  |
| IDCM-01-05b_02 | Implementation records (e.g. delivery order, contract document, record photographs) |  |  |
| IDCM-01-05b_03 | Testing and commissioning records following changes to systems and equipment (if any) |  |  |

- On-going Comminssioning

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-01-05c_00 | BEAM Plus EDC submission template for IDCM-01-05 |  |  |
| IDCM-01-05c_01 | On-going commissioning plan |  |  |
| IDCM-01-05c_02 | On-going commissioning records for the past 12 months (e.g. reports, measured data, record photographs, etc.) |  |  |
| IDCM-01-05c_03 | Undertaking letter endorsed by Building Manager showing the commitment of carrying out on-going commissioning within the next 5 years |  |  |

- RCx Professional

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-01-05d_00 | BEAM Plus EDC submission template for IDCM-01-05d |  |  |
| IDCM-01-05d_01 | Name of the personnel appointed as the RCx Professional |  |  |
| IDCM-01-05d_02 | Screen capture from the HKGBC RCx directory showing the engaged RCx Professional with active qualification status |  |  |
| IDCM-01-05d_03 | Plan(s) and report(s) endorsed by the RCx Professional(s) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)