| Project Name: |  |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: |  |  | All DC |  |  |  |  |  |  |
| Objectives: |  |  | To reduce the potential for having indoor air quality problems caused by renovation, fit-out and decoration and where applicable demolition, with the consideration of the benefit of workers and adjacent neighbours. |  |  |  |  |  |  |
| Credit Requirement: |  |  | - Construction Indoor Air Quality (IAQ) Management Plan 1 credit point for providing a Construction Indoor Air Quality (IAQ) Management Plan. - Implementation of Construction Indoor Air Quality (IAQ) Management Plan 1 credit point for providing records that the Construction IAQ Management Plan has been implemented by the DC Owner/ DC Management Company/ tenants during renovation. |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  |  | 2 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |  |
| COMPLIANCE Please confirm that the following requirement is met by checking the box with . |  |  |  |  |  |  |  |  |  |
|  | A Construction IAQ Management Plan is provided, including but not limited to the following items: |  |  |  |  |  |  |  |  |
|  |  | Procedures adopted in enhancing the IAQ during renovation, fit-out or decoration and occupancy stage; |  |  |  |  |  |  |  |
|  |  | Measures to avoid contamination of adjacent normally occupied areas and common areas; |  |  |  |  |  |  |  |
|  |  | Contaminant source controls; |  |  |  |  |  |  |  |
|  |  | Provision of adequate outside air during installation of materials and finishes; |  |  |  |  |  |  |  |
|  |  | Measures to protect the air ducts, on-site storage or protection of installed absorptive materials; |  |  |  |  |  |  |  |
|  |  | Measures to protect the IT equipment; |  |  |  |  |  |  |  |
|  |  | Cleaning procedures to be employed; |  |  |  |  |  |  |  |
|  |  | Procedures for building flush-out; and |  |  |  |  |  |  |  |
|  |  | Replacement of filtration media used on permanent MVAC equipment at completion of work. |  |  |  |  |  |  |  |

|  | Implementation of Construction IAQ Management Plan: |  |
| --- | --- | --- |
|  |  | Site records – checklist |
|  |  | Site records - on-site photo records |

SUBMITTALS

- Construction Indoor Air Quality (IAQ) Management Plan

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-02-04a_00 | BEAM Plus EDC submission template for IDCM-02-04 |  |  |
| IDCM-02-04a_01 | Construction IAQ Management Plan |  |  |

- Construction Indoor Air Quality (IAQ) Management Plan

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM-02-04b_00 | BEAM Plus EDC submission template for IDCM-02-04 |  |  |
| IDCM-02-04b_01 | Records showing the Construction IAQ Management Plan is properly implemented during renovation, fit-out and decoration |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)