| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: |  | Except the listed buildings services equipment not controlled by the applicant |  |  |  |  |  |  |
| Objectives: |  | To reduce the noise nuisance to neighbours caused by building services equipment |  |  |  |  |  |  |
| Credit Requirement: |  | (a) Provision of Acoustic Treatment 1 credit for providing adequate acoustic treatment to the following building services equipment: chillers, cooling towers, ventilation fans with Sound Power Level (SWL) higher than 80 dB(A). (b) Demonstration of Compliance with HKPSG Criteria 1 credit for demonstrating that the level of the intruding noise at the façade of the potential Noise Sensitive Receivers (NSRs) is in compliance with the criteria recommended in the Hong Kong Planning Standards and Guidelines (HKPSG). |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |
| COMPLIANCE Please confirm that the following requirement is met by checking the box with . - Provision of Acoustic Treatment |  |  |  |  |  |  |  |  |
|  | Chillers are being enclosed in an acoustic enclosure or plantroom or are installed with discharge/ intake silencer |  |  |  |  |  |  |  |  |
|  | Erection of a barrier or installation of silencer for cooling tower |  |  |  |  |  |  |  |  |
|  | Installation of silencer at major fan discharge outlets (for exhaust fans) or at air inlets (for intake fans) |  |  |  |  |  |  |  |  |
| Alternatively, |  |  |  |  |  |  |  |  |  |
|  | The Acceptable Noise Levels (ANLs) at the nearest NSRs can comply with the statutory requirements |  |  |  |  |  |  |  |  |

- Demonstration of Compliance with HKPSG Criteria

|  | The level of the intruding noise at the façade of the potential NSRs is in compliance with the criteria recommended in HKPSG. |
| --- | --- |

SUBMITTALS

- Provision of Acoustic Treatment

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-01-05a_00 | BEAM Plus EDC submission template for SS-01-05 |  |  |
| SS-01-05a_01 | Equipment catalogues (with SWLs), operation schedule, drawings showing the provision of acoustic treatment for chillers, cooling towers, ventilation fans with SWL larger than 80 dB(A) |  |  |
| SS-01-05a_02 | Record photographs of the acoustic treatment. |  |  |

- Demonstration of Compliance with HKPSG Criteria

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-01-05b_00 | BEAM Plus EDC submission template for SS-01-05 |  |  |
| SS-01-05b_01 | Summary table listing the nearest NSRs, building equipment sound level, quantities, ANL and noise level at the façade of the nearest NSRs |  |  |
| SS-01-05b_02 | Location plan to indicate the positions of the NSRs and building equipment |  |  |
| SS-01-05b_03 | Equipment catalogues |  |  |
| SS-01-05b_04 | Calculation or measurement |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)