| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: |  | All DC |  |  |  |  |  |  |
| Objectives: |  | To minimise light pollution caused by external lighting |  |  |  |  |  |  |
| Credit Requirement: |  | 2 credit points if there are no external lightings installed for the DC building. Alternatively, - 1 credit point for switching off the DC Owner, DC Management Company’s and tenants’ (if any) external lightings from 23:00 to 07:00. |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |
| COMPLIANCE Please confirm that the following requirement is met by checking the box with . |  |  |  |  |  |  |  |  |
|  | There are no external lightings, including advertisement boards, façade lightings and video walls, installed on exterior of the DC. |  |  |  |  |  |  |  |  |
| Alternatively, |  |  |  |  |  |  |  |  |  |
|  | External light management policy endorsed by top management is provided to confirm the DC Owner’s, DC Management Company’s and tenants’ (if any) external lightings are switched off from 23:00 to 07:00. |  |  |  |  |  |  |  |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-02-01_00 | BEAM Plus EDC submission template for SS-02-01 |  |  |
| SS-02-01_01 | Record photographs of external area and exterior of the building |  |  |
| SS-02-01_02 | Layouts/ building services drawings demonstrating that there are no external lightings installed for the building |  |  |
| SS-02-01_03 | Summary table listing the quantities and operation schedule of all external lightings |  |  |
| SS-02-01_04 | Location plan to indicate the external lightings |  |  |
| SS-02-01_05 | External light management policy endorsed by top management |  |  |
|  | Signed agreement between Building Owner/ Building Management Company and tenants for switching off the external light (if any) |  |  |
| SS-02-01_06 | Record photographs of Building Owner/ Building Management Company’s and tenants’ external lighting in both switch-on and switch-off state |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)