| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All the installed equipment using refrigerants, and fire suppression and other materials controlled by the applicant |  |  |  |  |  |  |  |
| Objectives: | To reduce the release of harmful ozone-depleting substances into the atmosphere |  |  |  |  |  |  |  |
| Credit Requirement: | - Newly Installed and Existing Equipment using Refrigerants 1 credit point for all the equipment (both newly purchased and existing) using the refrigerants with Global Warming Potential (GWP) ≤ 1,900. Alternatively, - For equipment with refrigerant GWP value > 1,900, credit point can be achieved when the Applicant can demonstrate a phased programme of refrigerant replacement. 1 credit point for using refrigerants with a combined value less than or equal to the threshold for the combined contributions to ozone depletion and global warming potentials for all new and existing HVAC&R equipment that under the control of Applicant. - Fire Suppression and Other Materials 1 credit point for using the fire suppression and other materials that avoids the use of ozone depleting substances in their manufacture, composition or use. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 3 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | (a) Newly Installed and Existing Equipment using Refrigerants |  |  |  |  |
|  |  | All the equipment (both newly purchased and existing) using the refrigerants with Global Warming Potential (GWP) less than 1,900 |  |  |  |
|  |  | Combined contributions to ozone depletion and global warming potentials |  |  |  |
|  |  | [ Σ (LCGWP + LCODP x 105) x Qunit ] / Qtotal : | : |  | ≤ 13 |
|  | (b) Fire Suppression and Other Materials |  |  |  |  |
|  |  | Use no ozone depleting substances in their manufacture, composition or use |  |  |  |

SUBMITTALS

- Newly Installed and Existing Equipment using Refrigerants

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-03a_00 | BEAM Plus EDC submission template for MW-02-03 |  |  |
| MW-02-03a_01 | Summary table listing the newly and existing installed equipment, type, model number and refrigerant type [#] [or] |  |  |
|  | Phased programme of refrigerant replacement |  |  |
| MW-02-03a_02 | Calculation [#] |  |  |
| MW-02-03a_03 | Equipment catalogue/ technical sheets [#] |  |  |
| MW-02-03a_04 | Record photographs [#] |  |  |

- Fire Suppression and Other Materials

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-03b_00 | BEAM Plus EDC submission template for MW-02-03 |  |  |
| MW-02-03b_01 | Summary table listing the quantity and types of portable fire extinguishers and fixed fire protection system [#] |  |  |
| MW-02-03b_02 | Equipment catalogue/ technical sheets [#] |  |  |
| MW-02-03b_03 | Phase out plan (for intermediate stage only) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)