| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To enable and encourage building operators to measure, record, monitor and analyse energy performance of the building’s engineering systems, particularly concerning energy use. |
| --- | --- |

| Requirement | - Metering for Electrical Loads 1 credit point for sub-metering systems for the following electrical loads where applicable: - Water Side; - Air Side; and - Lighting. - Metering for Electrical Loads 1 credit point for having Building Management System (BMS) to log operation data (e.g. pressure, temperature, flow rate, on/off status) for monitoring operation and function of the system including the following as a minimum: - Air side; - Water side; - Cooling load; and - Lighting control. - PUE Monitoring 1 credit point for energy metering to provide total facility power and energy usage and total IT equipment power and energy at each output of Power Distribution Unit (PDU) for determining instantaneous and average Power Usage Effectiveness (PUE) data. |
| --- | --- |

| Credit(s) Attainable: | 3 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

| Sub-metering systems are provided for the following electrical loads |  |
| --- | --- |
|  | Water Side |
|  | Air Side |
|  | Lighting |
| Building Management System (BMS) to log operation data (e.g. pressure, temperature, flow rate, on/off status) for monitoring operation and function of the system including the following as a minimum: |  |
|  | Water Side |
|  | Air Side |
|  | Cooling Load |
|  | Lighting control |
| Energy metering is provided for monitoring the following items |  |
|  | Total facility power and energy usage |
|  | Total IT equipment power and energy at each output of Power Distribution Unit (PDU) |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-01-04_00 | BEAM Plus EDC submission template for EU-01-04 |  |  |
| EU-01-04 Data Collection Facilities - For Sub-metering System |  |  |  |
| EU-01-04a_01 | Drawings, as-built electrical schematic |  |  |
| EU-01-04a_02 | Manufacturer technical specification, technical data sheets for meter, transducers, and sensors |  |  |
| EU-01-04a_03 | Operation manual |  |  |
| EU-01-04a_04 | Testing and commissioning records |  |  |
| EU-01-04a_05 | Data record samples |  |  |
| EU-01-04a_06 | Record photographs |  |  |
| EU-01-04 Data Collection Facilities - For BMS |  |  |  |
| EU-01-04b_01 | Drawings, as-built schematic, point schedule |  |  |
| EU-01-04b_02 | Manufacturer technical specification, technical data sheets for meter, transducers, and sensors |  |  |
| EU-01-04b_03 | Operation manual |  |  |
| EU-01-04b_04 | Record photographs |  |  |
| EU-01-04 Data Collection Facilities - For PUE |  |  |  |
| EU-01-04c_01 | Drawings, as-built electrical schematic |  |  |
| EU-01-04c_02 | Manufacturer technical specification, technical data sheets for meter, transducers, and sensors |  |  |
| EU-01-04c_03 | Operation manual |  |  |
| EU-01-04c_04 | Testing and commissioning records |  |  |
| EU-01-04c_05 | Data record samples |  |  |
| EU-01-04c_06 | Record photographs |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)