| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | Encourage the wider application of renewable energy sources in DCs. |
| --- | --- |

| Credit Requirement | - Solar Energy Feasibility Study 1 credit point for evaluating the building roof’s potential in harnessing solar energy - Renewable Energy Application 1 Bonus credit point where at least 0.2% of DC energy consumption in communal area is obtained from renewable energy sources. |
| --- | --- |

| Credit(s) Attainable | 1 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Solar energy feasibility study

Please provide the information below:

| Potential PV or BIPV installation surface |  | m2 |
| --- | --- | --- |
| Expected Annual Yield |  | kWh |
| Potential application |  |  |
| Project estimated whole building non-data centre energy use intensity (EUI) |  | kWh/m2 |
| Payback Period |  | Months |
| Implemented to the project | Y N |  |

(b) Renewable energy application

Please provide the information below:

Option 1:

| Renewable Source Selected |  |  |
| --- | --- | --- |
| Annual energy generated by renewable energy system |  | kWh |
| Annual building energy use for non-data centre system |  | kWh |
| Percentage of energy controlled or influenced by applicants |  | % |
| Percent renewable energy |  | % |

SUBMITTALS

(a) Solar Energy Feasibility Study

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-02-01a_00 | BEAM Plus EDC submission template for EU-02-01a |  |  |
| EU-02-01a_01 | Endorsed Feasibility study report. |  |  |
| EU-02-01a_02 | CV of the professional as per requirements in the assessment |  |  |

(b) Renewable Energy Application

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-02-01b_00 | BEAM Plus EDC submission template for EU-02-01b |  |  |
| EU-02-01b_01 | Manufacturer specification/ catalogue, as-built drawings, record photographs of the renewable energy system, etc. |  |  |
| EU-02-01b_02 | Results of calculated/ measured energy generation or energy reduction |  |  |
| EU-02-01b_03 | Electricity bills and Towngas bills (if applicable) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)