| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To reduce the consumption of non-renewable energy resources and the consequent harmful emissions of carbon dioxide (CO2) to the atmosphere and encourage energy conservation and methods to reduce peak electricity demand. |
| --- | --- |

| Requirement | Credit(s) can be achieved based on the Operating PUE value Credit point (s); PUE. 1; 2.00. 2; 1.90. 4; 1.80. 6; 1.70. 8; 1.60. 8 + 1B; 1.50. 8 + 2B; ≤ 1.40. |
| --- | --- |

| Credit(s) Attainable: | 8 + 2 BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

| (a) Benchmarking |  |
| --- | --- |
| Annual facility energy consumption, kWh |  |
| Annual IT equipment energy consumption, kWh |  |
| Operating PUE |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-05-01_00 | BEAM Plus EDC submission template for EU-05-01 |  |  |
| EU-05-01_01 | Detail Calculation of the Operating PUE |  |  |
| EU-05-01_02 | PUE value for the past 12 months |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)