| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To encourage adoption of practices, new technologies and techniques that have yet to find application in Hong Kong or provision for performance enhancements over and above stated performance criteria in BEAM Plus Existing DCs. |
| --- | --- |

| Requirement | - Research and Development in Energy 1 Bonus credit point for conducting research and development or participating in competition with published paper related to energy aspects for DCs. - Compliance with the BEC 1 to 4 Bonus credit points for compliance with the latest version of the following listed: - Energy Efficiency Requirements for Air-Conditioning Installations; - Energy Efficiency Requirements for Electrical Installations; - Energy Efficiency Requirements for Lighting Installations; and/or - Energy Efficiency Requirements for Lift and Escalator Installations. - Separate Energy Charges 1 Bonus credit point where separate charges are made for energy use. - Other Approaches 1 to 6 Bonus credit points for adopting other energy conservation approaches not prescribed above. |
| --- | --- |

| Credit(s) Attainable: | 6 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

| - Research and Development in Energy |  |
| --- | --- |
| Published paper related to energy aspects for DCs |  |

| - Compliance with the BEC |  |
| --- | --- |
| Demonstration of the compliance with the latest version of BEC code on Energy Efficiency Requirements for Air-Conditioning Installations |  |
| Demonstration of the compliance with the latest version of BEC code on Energy Efficiency Requirements for Electrical Installations |  |
| Demonstration of the compliance with the latest version of BEC code on Energy Efficiency Requirements for Lighting Installations |  |
| Demonstration of the compliance with the latest version of BEC code on Energy Efficiency Requirements for Lift and Escalator Installations |  |

| - Separate Energy Charges |  |
| --- | --- |
| Evidence is provided to demonstrate that building users pay for their own energy consumption cost within their spaces, including air-conditioning, lighting, small power, etc |  |

| - Other approaches |  |
| --- | --- |
| Please provide a brief summary on the adopted approach: |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-05-02_00 | BEAM Plus EDC submission template for EU-05-02 |  |  |
| Research and Development in Energy: |  |  |  |
| EU-05-02a_01 | Brief description of how the published paper has positive impact on building energy aspect |  |  |
| EU-05-02a_02 | A copy of the published paper |  |  |
| EU-05-02a_03 | Evidence to demonstrate the publication (e.g. letter from editor of the journal, copy of the publication) |  |  |
| Compliance with the BEC |  |  |  |
| EU-05-02b_01 | FOC forms endorsed by REA |  |  |
| Separate Energy Charges: |  |  |  |
| EU-05-02c_01 | As-built electrical schematic, as-built MVAC water side schematic, location layouts |  |  |
| EU-05-02c_02 | Consumption records, meter readings, logbook or printed output (sensitive information can be blacked out if needed, such as tenant’s name) |  |  |
| EU-05-02c_03 | Payment records showing that building users pay for their own energy consumption within their spaces |  |  |
| EU-05-02c_04 | Manufacturer’s technical specification, technical data sheets for the tenant electricity meters and/or thermal energy meters for chilled water sub-metering |  |  |
| EU-05-02c_05 | Record photographs showing meter installation |  |  |
| Other Approaches: |  |  |  |
| EU-05-02d_01 | Description and intent of the approach |  |  |
| EU-05-02d_02 | Proposed criteria for assessing compliance and the assessment criteria |  |  |
| EU-05-02d_03 | Quantified environmental benefits |  |  |
| EU-05-02d_04 | Other types of supporting (e.g. manufacturer specification/ catalogue, laboratory report, calculation, published papers, project reference, etc.) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)