| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To identify water leakage once detected for the arrangement of maintenance work |
| --- | --- |

| Credit Requirement | 1 credit point for installing water leakage detection systems in all municipal potable water tank rooms and data halls. |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please confirm that the following requirements are met by checking the box with .

| Water leakage detection systems are installed in all data halls and all municipal potable water tank rooms. Other locations include rooms comprising potable water tank, irrigation tank and cleansing water tank, and flush water tank if using fresh water for flushing (if applicable). |  |
| --- | --- |
| Water tank room which has multiple water tanks have at least one leakage detection system |  |
| The detection systems should have the capability to automatically alert the operator or the security guard and identify the room with leakage when leakage occurs |  |

SUBMITTALS

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| WU-01-04_00 | BEAM Plus EDC submission template for WU-01-04 |  |  |
| WU-01-04_01 | System description of the water leakage system |  |  |
| WU-01-04_02 | Plumbing schematic drawing(s) and plumbing layout drawings, highlighting the provisions of water leakage detection systems in all water tank rooms |  |  |
| WU-01-04_03 | Equipment catalogues of the water leakage detectors |  |  |
| WU-01-04_04 | On-site photographs of the water leakage detectors (if any) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)