| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC with cooling tower using potable water as make up water. |
| --- | --- |

| Objective | To reduce potable water consumption for cooling tower makeup. |
| --- | --- |

| Credit Requirement | 1 credit point for reducing fresh water consumption by installing water treatment system which can achieve minimum 7 cycles of concentration with acceptable water quality. 1 additional BONUS credit point for 8 or more cycles of concentration with acceptable water quality. |
| --- | --- |

| Credit(s) Attainable | 1 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please confirm that the following requirement is met by checking the box with .

| The ratio between the concentration of dissolved solids in the cooling tower and the make-up water should be 7 or more. |  |
| --- | --- |
| The ratio between the concentration of dissolved solids in the cooling tower and the make-up water should be 8 or more. |  |
| Make-up water pumps can provide sufficient flow rate and pressure to sustain the specified cycle of concentration |  |
| All cooling towers using potable water within the assessment boundary are included in the assessment |  |
| Cooling tower water treatment proposal are developed in accordance to the latest EMSD Code of Practice for Fresh Water Cooling Tower |  |
| EMSD Form EE CT3 regarding the cooling water sampling results and the associated water sampling test report to substantiate satisfactory cooling water quality are submitted |  |

SUBMITTALS

| Supporting Document |  | PA | FA |
| --- | --- | --- | --- |
| WU-01-06_00 | BEAM Plus EDC submission template for WU-01-06 |  |  |
| WU-01-06_01 | Water treatment proposal highlighting the design cycles of concentration |  |  |
| WU-01-06_02 | Catalogues of cooling tower, water treatment equipment and make-up water pumps |  |  |
| WU-01-06_03 | EMSD Form EE CT3 and associated water sampling test report |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)