| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To reduce the consumption of fresh water through the application of water saving devices that have proven performance and reliability as well as operation management measures. |
| --- | --- |

| Requirement | Credit point(s) can be achieved based on the reduction percentage by comparing water bill/ metering data. (Reference year can be any year in the past 5 years). No. of Credit(s); 1; 2; 3; 4; 4 + 1 Bonus. Estimated aggregate annual fresh water saving; 3%; 6%; 9%; 12%; 15%. |
| --- | --- |

| Credit(s) Attainable: | 4 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

| Water Saving Management |  |
| --- | --- |
| Annual fresh water consumption of baseline year, m3 |  |
| Annual fresh water consumption of reduction year, m3 |  |
| Annual fresh water use reduction,% |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU -04-02_00 | BEAM Plus EDC submission template for WU -04-02 |  |  |
| WU -04-02_01 | Water bills/ metering data for the baseline year and current year [#] |  |  |
| WU -04-02_02 | Water reduction calculation |  |  |
| WU -04-02_03 | Narratives on the management initiatives or evidence of hardware upgrade in reducing fresh water consumption |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)