| Project Name: |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |
|  |  |  | CIR Applied |  | Y |  | N |
|  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All normally occupied spaces in DC, except the naturally ventilated spaces. |  |  |  |  |  |  |
| Objectives: | To assess the quality of on-site outdoor air and demonstrate that a minimum quantity of outdoor air is supplied to all normally occupied spaces in the project in order to safeguard the health and comfort of DC users. |  |  |  |  |  |  |
| Credit Requirement: | - On-site Outdoor Air Quality To measure outdoor air pollutants at selected intake location(s). - Minimum Ventilation To demonstrate the project is in compliance with the minimum ventilation quantity in accordance with of ANSI/ASHRAE Standard 62.1-2019. Alternatively, - In case of the minimum ventilation rate of ANSI/ASHRAE Standard 62.1-2019 is not complied due to the physical constraints of the existing ventilation system, demonstrate that the system is operated at maximum outdoor air delivery rate and provide not less than 5 l/s per person of combined outdoor air rate. |  |  |  |  |  |  |
| Credit(s) Attainable: |  | Prerequisite |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |

| COMPLIANCE |  |
| --- | --- |
| - On-site Outdoor Air Quality |  |
|  | Engaged an IAQ Certificate Issuing Body to measure the quality of outdoor air at the selected intake location(s) or representative location(s) of the DC if there is accessibility issue |
|  | Measurements are taken for carbon monoxide (CO), nitrogen dioxide (NO2), ozone (O3) and respirable suspended particulates (PM10) |
|  | Outdoor air pollutants measurement report endorsed by IAQ CIB |
| - Minimum Ventilation |  |
|  | A schedule of all spaces present in the DC is submitted |
|  | A report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 in all normally occupied spaces |
| Alternatively, |  |
|  | A report demonstrating the details of the system’s maximum ventilation rate, and demonstrate that the system is operated at maximum capacity to deliver outdoor air into the space and provide not less than 5 l/s per person of combined outdoor air rate |
|  | The report is endorsed by a Registered Professional Engineer (R.P.E.) in Building Services, Environmental or Mechanical discipline. |

SUBMITTALS

- On-site Outdoor Air Quality

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-00-P1a_00 | BEAM Plus EDC submission template for HWB-00-P1a |  |  |
| HWB-00-P1a_01 | Outdoor air pollutants measurement report endorsed by IAQ CIB |  |  |

- On-site Outdoor Air Quality

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-00-P1b_00 | BEAM Plus EDC submission template for HWB-00-P1b |  |  |
| HWB-00-P1b_01 | Schedule of all spaces present in the DC |  |  |
| HWB-00-P1b_02 | Report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 in all normally occupied spaces |  |  |
| HWB-00-P1b_03 | MVAC fan schedule and air side schematics |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)