| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To maintain effective ventilation and prevent exposure to concentrated indoor pollutant sources to support occupants’ health and wellbeing |
| --- | --- |

| Credit Requirement | - Fresh Air Provision 1 credit point for demonstrating that 90% of not normally occupied spaces in the DC are provided with adequate ventilation. - Exhaust Air 1 credit point for the provision of an effective ventilation system for spaces where significant indoor pollution sources are generated. |
| --- | --- |

| Credit(s) Attainable | 2 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please confirm that the following requirement is met by checking the box with .

| - Fresh Air Provision |  |
| --- | --- |
| A schedule of all spaces present in the DC. Categories the spaces into normally occupied, not normally occupied and unoccupied according to the space type matrix in Appendix 10.3 of this Manual. |  |
| A report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 in 90% of not normally occupied spaces |  |
| - Exhaust Provision |  |
| A schedule of all spaces where significant indoor pollution sources are generated |  |
| Provide design criteria that have been adopted and the details of the ventilation system designs providing local exhaust where concentrated pollutant sources are likely to be present |  |
| Submit exhaust air rate calculation demonstrating the compliance of design criteria. ANSI/ASHARE Standard 62.1 – 2019 and CIBSE Guide B 2016 are accepted references for this credit. Justification is needed for other references |  |

SUBMITTALS

- Fresh Air Provision

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-01a_00 | BEAM Plus EDC submission template for HWB-03-01 |  |  |
| HWB-03-01a_01 | The design criteria adopted for the not normally occupied spaces |  |  |
| HWB-03-01a_02 | The report of methodology and results of calculations to demonstrate compliance |  |  |

- Exhaust Air

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-01b_00 | BEAM Plus EDC submission template for HWB-03-01 |  |  |
| HWB-03-01b_01 | The design criteria adopted for the not normally occupied spaces |  |  |
| HWB-03-01b_02 | The report of methodology and results of calculations to demonstrate compliance |  |  |
| HWB-03-01b_04 | Calculation indicating that the exhaust rate is achieved |  |  |
| HWB-03-01b_05 | Photographs or drawings showing the location of the exhaust point |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)