| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To reduce the risk of biological contamination by adopting appropriate design precautions of the water supply systems, HVAC systems and other water features |
| --- | --- |

| Credit Requirement | 1 credit for complying with the recommendations given in the Code of Practice for Prevention of Legionnaires’ Disease 2021 Edition in respect of Water Supply Systems, HVAC Systems and other Water Features. |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

If the project consists of Hot Water Supply Systems, please complete the below table.

| Section 4.4.1 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |
| (d) | Y N |  |
| (e) | Y N |  |
| (f) | Y N |  |
| (g) | Y N |  |
| (h) | Y N |  |
| (i) | Y N |  |
| (j) | Y N |  |
| (k) | Y N |  |
| (l) | Y N |  |
| (m) | Y N |  |
| (n) | Y N |  |

If the project consists of Cold Water Supply Systems, please complete the below table.

| Section 4.5 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |
| (d) | Y N |  |
| (e) | Y N |  |
| (f) | Y N |  |

If the project consists of Cooling Tower, please complete the below table.

| Section 4.2 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |
| (d) | Y N |  |
| (e) | Y N |  |
| (f) | Y N |  |
| (g) | Y N |  |
| (h) | Y N |  |
| (i) | Y N |  |
| (j) | Y N |  |

If the project consists of Air Handling Unit / Fan Coil Unit, please complete the below table.

| Section 4.3.1 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |
| (d) | Y N |  |

If the project consists of Air Duct and Air Filters, please complete the below table.

| Section 4.3.2 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |

If the project consists of Humidifiers, please complete the below table.

| Section 4.3.3 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |

If the project consists of Air Washers, please complete the below table.

| Section 4.3.4 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (d) | Y N |  |

If the project consists of Architectural Foundations, please complete the below table.

| Section 4.6 | Applicability | Evidence* |
| --- | --- | --- |
| (a) | Y N |  |
| (b) | Y N |  |
| (c) | Y N |  |
| (d) | Y N |  |
| (e) | Y N |  |

* Specify the file name and page number, with relevant information highlighted.

SUBMITTALS

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-09_00 | BEAM Plus EDC submission template for HWB-03-09 |  |  |
| HWB-03-09_01 | Specifications of Water Supply Systems |  |  |
| HWB-03-09_02 | Schematic diagram of Water Supply Systems |  |  |
| HWB-03-09_03 | Specifications of HVAC Systems |  |  |
| HWB-03-09_04 | Schematic diagram of HVAC Systems |  |  |
| HWB-03-09_05 | Specifications of Other Water Features |  |  |
| HWB-03-09_06 | Schematic diagram of Other Water Features with mark-up narratives |  |  |
| HWB-03-09_07 | Drawing of installation details |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)